| Title (Mr/Mrs/Miss/Dr etc.): | Surname: |
| --- | --- |
| Position: |
| Forename(s): |
| Dept & Ward | Extension No: |

## Competency

## Attained when the trainee has the ability to perform the test/procedure unsupervised to a set standard on more than one occasion in a consistent manner, together with a working comprehension of the principles and concepts of the content of the key task.

## Task:

## POCT equipment training for URYXXON analysers and Medi-Test Combi 8 dipsticks

Learning objectives:

- Locate Urinalysis folder with SOP, iQC & maintenance log, risk assessment

- Analyse the iQC and record the results

- Obtain the correct sample, label correctly, handle correctly

- Analyse a patient sample and record the results correctly

- Perform external quality assurance and return results to lab

- Clean the reader ready for the next sample strip

Training received (date)…………………..

Training delivered by (name and signature): …………………………….……       ……………..…………………………

##### Criterion Evaluation

##### The following questions provide evidence of a working understanding of the test and the principles of the method.

| Questions | Answers | Assessor approval |
| --- | --- | --- |
| 1. Why would urinalysis be performed on the POCT equipment? When would POCT analysis be used rather than sending a sample to the laboratory? |  |  |
| 2. Under what circumstances, would a sample be sent for analysis, at the laboratory? |  |  |
| 3. How does the POCT equipment work (only enough knowledge is needed to perform a test)? |  |  |
| 4. What are the limitations of the test? |  |  |
| 5. How do you correctly: - Obtain a sample - Prepare the sample for analysis |  |  |
| 6. If the machine errors or the QC fails what would you do? How do you report any issues or concerns? |  |  |
| 7. Briefly describe the maintenance procedure. Where is this recorded and how often should it be done? |  |  |
| 8. Where are the QCs stored and where are they disposed of when empty / expired? Where are further supplies obtained? |  |  |
| 9. Briefly describe how to perform the test (including start up of machine if required) |  |  |
| 10. Briefly describe how QC is run and recorded |  |  |
| 11. What is external quality control? How often is it performed? How does the sampling of the EQA vary from patient samples? |  |  |
| 12. Describe the documentation procedure of patient’s results. |  |  |

Direct Observation

The trainee must be observed doing the task and deemed competent to perform the task correctly and safely by the assessor

| Task | POCT equipment training for URYXXON analysers and Medi-Test Combi 8 dipsticks |
| --- | --- |
| Trainee |  |
| Department |  |
| Direct Observation Assessment Evaluation Understand and perform Urine analysis on Analysers Understand and report QC Able to carry out maintenance | Objective evidence Record results from sample processed during training (as you would in the patient notes) |
| Assessor Signature: Date: |
| Appraise Signature: Date: |

Keep this form in your portfolio when complete. Your line manager will require a copy.

# Text boxes

The following SOP’s are covered by this competence:

SOP/POCT/60/1

I can confirm that I have read these current SOP’s and understand the implications of the SOP’s

Appraise Signature: ……………………………………………	Date:……………………

Assessor Signature: ……………………………………………	Date:……………………