Glucose Meters

Your FPP meter is enabled for both glucose and ketone testing, you will see prompts for both glucose and ketone QCs.

To run glucose QC only:

- Select 2 – Control Test

- Follow prompts for required test

- Screen may display “Unexpected strip Ketone expected Glucose entered”

- Select 2 – Continue  You can continue with glucose QC

- When Lo and Hi QC levels have been analysed it will still show “Ketone QC due”

- Select 1 – Patient Test to proceed with patient sample.

If there are no patient ketone tests to do, then the ketone QCs do not need to be run.

POCT Coordinator Tel: 07500050655

ruh-tr.biochempoc@.nhs.net

With compliments

POCT Pathology Department

POCT Pathology Department

POCT Coordinator Tel: 07500050655

ruh-tr.biochempoc@.nhs.net