Urine Dipstick Negative Quality Control Record Sheet

| Test | Negative ranges (Level 1) Comments |
| --- | --- |
| Nitrite (Nit) | Negative |
| Leukocytes (Leu) | Negative |
| Ketones (Ket) | Negative |
| Glucose (Gluc) | Negative – Normal |
| Blood | Negative |
| Protein | Negative |
| pH | 5.0 – 7.0 |
| Specific Gravity (SG) | 1.005 – 1.020 |

Dipstick Positive Quality Control Record Sheet

| Test | Positive ranges (Level 2) Comments |
| --- | --- |
| Nitrite (Nit) | Positive |
| Leukocytes (Leu) | 15 – 500 Leu/µL |
| Ketones (Ket) | 0.5 – 30 mmol/L |
| Glucose (Gluc) | 8.3 – 56 mmol/L |
| Blood | 10 – 250 Ery/µL |
| Protein | 0.25 – 5.0 g/L |
| pH | 6.0 – 8.0 |
| Specific Gravity (SG) | 1.005 – 1.025 |