### Quidel Triage® MeterPro Daily Quality Control & Maintenance Log

**QC Device Code Chip Lot Number\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Month: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Year: \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

|  |
| --- |
| Daily Internal Quality Control |
| **Date** | **1** | **2** | **3** | **4** | **5** | **6** | **7** | **8** | **9** | **10** | **11** | **12** | **13** | **14** | **15** | **16** | **17** | **18** | **19** | **20** | **21** | **22** | **23** | **24** | **25** | **26** | **27** | **28** | **29** | **30** | **31** |
| **Calib Pass Y/N** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **Laser Pass Y/N** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **Align Pass Y/N** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **Initials** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maintenance |
| **Clean exterior and device trace door** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **Check Printer Paper** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **New box of devices opened, chip installed** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **Initials** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

**Monthly Quality Control Log Quidel Triage MeterPro (PlGF)**

**Remember liquid iQC needs to defrost and mix thoroughly before use.**

**Each box of liquid iQC includes a QC sample code chip module this should be installed with every new lot number of QC.**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Start Date** | **PlGF Control****1 or 2** | **PlGF Control Lot no** | **Mean** (pg/ml) | **2 SD Range (**pg/ml**)** | **Expiry Date** | **New QC Sample Code Chip Installed? Y/N** |
|  |  |  |  | - |  |  |
|  |  |  |  | - |  |  |
|  |  |  |  | - |  |  |
|  |  |  |  | - |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Devise Lot number used for****Level 1 / level 2** | **iQC lot numbers****level 1 / level 2** | **Level 1 PlGF****Result** (pg/ml) | **Level 2 PlGF Result** (pg/ml) | **iQC Acceptable?** | **Operator****Signature** |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |
|  | / | / |  |  |  |  |